## INDEX
Uttar Gujarat Vij Company Limited, Mehsana
Performas for FY 2023-24
Performa No. | Particulars | Remarks/Report
SoP 001 | Fatal & Non Fatal Accident Report | Qtrly FY 2023-24
SoP 003 | Register for compiling the complaints classification wise | Qtrly FY 2023-24
SoP 004 | Actions or steps carried out by UGVCL towards public awareness in the year | Qtrly FY 2023-24
SoP 005 | Action taken report by the Redressal Committee | Qtrly FY 2023-24
SoP 006 | Failure of Distribution Transformer. | Qtrly FY 2023-24
SoP 011 A | System Average Interruption Frequency Index (SAIFI) | Qtrly FY 2023-24
SoP 011 B | System Average Interruption Duration Index (SAIDI) | Qtrly FY 2023-24
SoP 011 C | Momentary Average Interruption Frequency Index (MAIFI) | Qtrly FY 2023-24
SoP 013 | Meter Faults | Qtrly FY 2023-24
SoP 016 | Compensation Details | Qtrly FY 2023-24

## SoP001
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct.-23 to Dec.-23)
YEAR :- 2023-24
Performa - SOP 001 : Fatal and Non-fatal accident report for quarter ending
Sr. No. | Name of area | No.of accidents during the quarter |  |  |  |  | Cumulative since the first quarter of the current FY
|  | Departmental |  | Out side
|  | FH | NFH | FH | FA | NFH | FH | FA | NFH
1 | Sabarmati | 0 | 2 | 7 | 6 | 2 | 32 | 33 | 13
2 | Mehsana | 0 | 1 | 3 | 0 | 1 | 23 | 8 | 6
3 | Palanpur | 2 | 1 | 6 | 5 | 1 | 23 | 27 | 10
4 | Himatnagar | 0 | 1 | 2 | 3 | 0 | 27 | 43 | 10
| TOTAL | 2 | 5 | 18 | 14 | 4 | 105 | 111 | 39

## SoP 003
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
Performa SoP 003 B:
APPENDIX - B
REGISTER FOR COMPILING THE COMPLAINTS CLASSIFICATION WISE
Classification | Pending complaint of previous quarter | Complaints received during the quarter | Total complaints | No.of complaints redressed during the month |  |  |  |  | Balance complaints to be redressed (4) - (9) | Classification of complaint
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time | Within stipulated time | Upto double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
A(i) | 0 | 27593 | 27593 | 17216 | 10377 | 0 | 0 | 27593 | 0 | Loose conn. from pole
A(ii) | 0 | 17212 | 17212 | 13989 | 3223 | 0 | 0 | 17212 | 0 | Int.due to line breakdown
A(iii) | 0 | 3912 | 3912 | 2256 | 1656 | 0 | 0 | 3912 | 0 | Interruption due to failure of transformer
B(i) | 0 | 1475 | 1475 | 770 | 705 | 0 | 0 | 1475 | 0 | Ordinary case, which requires no augmentation
B(ii) | 0 | 704 | 704 | 409 | 295 | 0 | 0 | 704 | 0 | Where augmentation is required
C(i) | 0 | 4716 | 4716 | 2989 | 1727 | 0 | 0 | 4716 | 0 | Stopped/Defective Meters
C(ii) | 0 | 2564 | 2564 | 1415 | 1149 | 0 | 0 | 2564 | 0 | Billing on average basis for more than two bills
D(i) | 0 | 2985 | 2985 | 1720 | 1265 | 0 | 0 | 2985 | 0 | Loose Wires
D(ii) | 0 | 492 | 492 | 264 | 228 | 0 | 0 | 492 | 0 | Inadequate ground clearance
E(i) | 0 | 1546 | 1546 | 953 | 593 | 0 | 0 | 1546 | 0 | For current bills where no additional information is required
E(ii) | 0 | 1114 | 1114 | 569 | 545 | 0 | 0 | 1114 | 0 | Where additional information relating to correctness of reading etc. is required
F(i) | 0 | 994 | 994 | 436 | 558 | 0 | 0 | 994 | 0 | Where extension of mains is not required
F(ii) | 0 | 579 | 579 | 321 | 258 | 0 | 0 | 579 | 0 | Where extension of mains is required
F(iii) | 0 | 1669 | 1669 | 860 | 809 | 0 | 0 | 1669 | 0 | Modification in connected load
F(iv) | 0 | 1849 | 1849 | 930 | 919 | 0 | 0 | 1849 | 0 | Name change/reconnection
G | 0 | 419 | 419 | 267 | 152 | 0 | 0 | 419 | 0 | Refund of amount due in regard to temporary connection
H | 0 | 5528 | 5528 | 4315 | 1213 | 0 | 0 | 5528 | 0 | Others
Total | 0 | 75351 | 75351 | 49679 | 25672 | 0 | 0 | 75351 | 0
| 0 | 92796 | 92796 | 63598 | 29198 | 0 | 0 | 92796 | 0

## SoP 004
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
Performa SoP 004
Sr. No. | Actions or steps carried out by UGVCL towards public awareness in the quarter | Likely number of consumers influenced | Details about media
1 | Display board of SOP at circle, Division & S/Dn | 122906 | Notice Board | 101373
2 | Display board of Name of information officers under RTI Act 2005 at Circle,Division,Sub- division offices. | 123478 | Notice Board | 114773
3 | Consumer care centers at various places | 102184 | Verbal & Notice Board at CCC | 153929
4 | Advertisement through Daily News papers | 128875 | Daily News papers | 119421
5 | Pamphlets distributed among public | 199813 | Pamphlets | 174062
6 | Advertisement through slide in TV / Banners | 177032 | T V Channels | 173645
7 | On Web site of Uttar Gujarat Vij Company Limited | 169657 | Internet | 142433
8 | Through Regular Energy Bills | 2032711 | Energy Bill | 2077951
9 | Others | 456 | CD | 1642

## SoP 005
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
YEAR :- 2023-24
Performa SoP 005 B: Action taken report by the Redressal Committee
Sr. No. | Month | Date and time meeting conducted | No. of complaints registered at the meeting | No. of complaints pending at the end of the meeting | Nos of cases Disposed | Location of Hearing
1 | Oct.23 | 07.10.2023 | 5 | 2 | 3 | Circle office Sabarmati
|  | 20.10.2023 | 4 | 4 | 0 | Circle office Sabarmati
|  | 21.10.2023 | 2 | 0 | 2 | Corporate Office, Mehsana
2 | Nov.23 | 02.11.2023 | 5 | 2 | 3 | Circle office Sabarmati
|  | 10.11.2023 | 0 | 0 | 0 | Corporate Office, Mehsana | to sign the orders of meeting dated 21.10.2023.
|  | 29.11.2023 | 4 | 4 | 0 | Circle office Sabarmati
3 | Dec.23 | 14.12.2023 | 4 | 0 | 4 | Circle office Sabarmati

## SoP 006
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
Performa SoP 006 : Failure of Distribution Transformer.
Sr. No. | Class | No. of existing Distribution transformer at the start of the quarter | No.of Distribution transformers added during the quarter | Total number of Distribution transformers | Total number of Distribution transformer failed during the quarter | % failure rate of Distribution transformer
|  | A | B | C=A+B | D | H= (D) * 100/C
1 | 11KV | 397890 | 7728 | 405618 | 7964 | 1.9634
Total |  | 397890 | 7728 | 405618 | 7964 | 1.9634

## SOP011-(AG)
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
YEAR :- 2023-24
SoP 011 - A : System Average Interrruption Frequency Index (SAIFI) for AG. Dominant Category
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | 2023-10-01 | 433048 | 644552 | 1321883 | 2.0509
2 | 2023-11-01 | 413765 | 645765 | 1254229 | 1.9422
3 | 2023-12-01 | 414798 | 650160 | 1215918 | 1.8702
SoP 011 - B : System Average Interrruption Duration Index (SAIDI) for AG. Dominant Category
Sr. No | Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interrution Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2023-10-01 | 1900-12-08 12:51 | 433048 |  | 644552 | 2095-01-16 14:19 | 0.11053
2 | 2023-11-01 | 1900-12-26 19:53 | 413765 |  | 645765 | 2102-04-14 00:57 | 0.11441
3 | 2023-12-01 | 1900-11-02 13:32 | 414798 |  | 650160 | 2078-12-13 22:25 | 0.10053
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI) for AG. Dominant Category
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*Nmi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2023-10-01 | 14210 | 574501 |  | 644552 | 3458220 | 5.3653
2 | 2023-11-01 | 14850 | 586984 |  | 645765 | 3458901 | 5.3563
3 | 2023-12-01 | 11797 | 573392 |  | 650160 | 2857221 | 4.3946

## SOP011-(JGY)
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
YEAR :- 2023-24
SoP 011 - A : System Average Interrruption Frequency Index (SAIFI) for JGY category
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | 2023-10-01 | 1417523 | 2166168 | 3506820 | 1.6189
2 | 2023-11-01 | 1556194 | 2168818 | 3938977 | 1.8162
3 | 2023-12-01 | 1392076 | 2173766 | 3097987 | 1.4252
SoP 011 - B : System Average Interrruption Duration Index (SAIDI) for JGY category
Sr. No | Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interrution Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2023-10-01 | 1900-03-24 01:16 | 1417523 |  | 2166168 | 2369-06-16 09:53 | 0.079157
2 | 2023-11-01 | 1900-03-23 05:38 | 1556194 |  | 2168818 | 2346-04-03 11:41 | 0.075153
3 | 2023-12-01 | 1900-03-12 22:36 | 1392076 |  | 2173766 | 2278-02-11 05:00 | 0.063533
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI) for JGY category
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*Nmi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2023-10-01 | 4814 | 2074728 |  | 2166168 | 10718642 | 4.9482
2 | 2023-11-01 | 4938 | 2063781 |  | 2168818 | 10894372 | 5.0232
3 | 2023-12-01 | 4255 | 2027074 |  | 2173766 | 9651284 | 4.4399

## SOP011-(OTHER THAN AG-JGY)
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
YEAR :- 2023-24
SoP 011 - A : System Average Interrruption Frequency Index (SAIFI) for Other than AG & JGY category
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | 2023-10-01 | 734845 | 1333302 | 1862315 | 1.3968
2 | 2023-11-01 | 701588 | 1335820 | 1765340 | 1.3215
3 | 2023-12-01 | 723937 | 1337708 | 1689027 | 1.2626
SoP 011 - B : System Average Interrruption Duration Index (SAIDI) for Other than AG & JGY category
Sr. No | Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interrution Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2023-10-01 | 1900-02-25 16:23 | 734845 |  | 1333302 | 2063-06-03 14:34 | 1:04
2 | 2023-11-01 | 1900-02-03 09:42 | 701588 |  | 1335820 | 2041-04-23 20:23 | 0:56
3 | 2023-12-01 | 1900-02-11 07:10 | 723937 |  | 1337708 | 2011-02-09 00:08 | 0:44
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI) for Other than AG & JGY category
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*Nmi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2023-10-01 | 1566 | 960207 |  | 1333302 | 2813120 | 2.1099
2 | 2023-11-01 | 1626 | 989743 |  | 1335820 | 2965954 | 2.2203
3 | 2023-12-01 | 1568 | 974028 |  | 1337708 | 3159458 | 2.3618

## SOP011-(OVERALL)
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
YEAR :- 2023-24
SoP 011 - A : System Average Interrruption Frequency Index (SAIFI) for UGVCL as a whole
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | 2023-10-01 | 2585416 | 4144022 | 6691018 | 1.6146
2 | 2023-11-01 | 2671547 | 4150403 | 6958546 | 1.6766
3 | 2023-12-01 | 2530811 | 4161634 | 6002932 | 1.4424
SoP 011 - B : System Average Interrruption Duration Index (SAIDI) for UGVCL as a whole
Sr. No | Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interrution Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2023-10-01 | 1901-04-29 06:30 | 2585416 |  | 4144022 | 302398.6153 | 1:45
2 | 2023-11-01 | 1901-04-24 11:13 | 2671547 |  | 4150403 | 288491.3757 | 1:40
3 | 2023-12-01 | 1901-02-26 19:18 | 2530811 |  | 4161634 | 244051.1479 | 1:24
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI) for UGVCL as a whole
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*Nmi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2023-10-01 | 20590 | 3609436 |  | 4144022 | 16989982 | 4.0999
2 | 2023-11-01 | 21414 | 3640508 |  | 4150403 | 17319227 | 4.1729
3 | 2023-12-01 | 17620 | 3574494 |  | 4161634 | 15667963 | 3.7649

## SoP013
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
Performa SoP 013 : Meter faults
Consumer Category | No. of faulty meters at the start of the quarter | No. of faulty meters added during the quarter | Total No. of defective / faulty meter | No. of faulty Meters repaired and replaced | No. of faulty meters pending at the end of the quarter
| 1 | 2 | 3=2+1 | 4 | 5=3-4
Single Phase | 5367 | 28051 | 33418 | 20408 | 13010
Three Phase | 1205 | 8098 | 9303 | 6555 | 2748
Total | 6572 | 36149 | 42721 | 26963 | 15758

## SoP016
Uttar Gujarat Vij Company Limited
QUARTER :- 3rd (Oct. - 23 to Dec. - 23)
Performa SoP 016 : Compensation details
COMPENSATION DETAILS
Sr. No. | Event | Compensation | No. of cases where compensation was given (in numbers) | Amt.of compensation paid (in Rs.)
1 | Duty to provide supply | Rs.50 per day of delay from the limit specified in the performance regulations | …NIL… | …NIL…
a) New connection
b) Additional load
c) Temporary supply
d) Shifting service connection
e) Transfer of service connection
f) Change in tariff category of consumer
2 | Complaints in billing | Rs.50 for non reply within the period prescribed in Regulations
3 | Replacement of meters | LT Rs.25 per day of delay maximum Rs.2,500 and HT Rs. 250 per day of delay maximum of Rs. 5,000/-
4 | Interruption of supply | LT Rs.25 for every 6 hrs. of delay maximum of Rs.500 and HT Rs. 50 for every 6 hrs. delay maximum Rs. 1000
5 | Voltage fluctuations and complaints | Rs.50 for failure to visit or convey findings within the stipulated period
6 | Responding to consumers complaints | Rs. 25 for each day of delay maximum Rs. 500
7 | Grievance Handling | Rs. 25 for failure in handling grievance.
| TOTAL :- |  | …NIL… | ……NIL…..